Document Title: SciAps TranslationTable_Z-901 Lithium Specifications

Rev Date: 1221

| Layout Preview | English Text | Translated Text |
| --- | --- | --- |
|  | SciAps Z-901 Lithium |  |
|  | Specifications |  |
|  | One Box |  |
|  | Pair Z-901 Lithium with our industry-leading XRF |  |
|  | unit and get optimal analysis across every element in the periodic table and every sample type. |  |
|  | XRF |  |
|  | Great for transition and heavy metals. |  |
|  | Easy to use especially on bulk, soil, and ore type materials. |  |
|  | LIBS |  |
|  | Analyze elements XRF can’t test: |  |
|  | Li, Be, B, C, F, Na and more Improved performance on Mg, Ca, K compared to XRF Microanalysis capability with 100 um laser spot size. SciAps Z-902 Lithium analyzer offers an extended spectrometer range for those users who need to additionally measure boron, magnesium, sodium, and perhaps other metals in brines. |  |
|  | SciAps Z Series is the world’s only handheld analyzer offering in-field, instant analysis of lithium in rocks, ores, powders, and brines — in use globally for lithium exploration projects, with no travel restrictions or licensing headaches. |  |
|  | World’s only handheld |  |
|  | analyzer for lithium in soils, ores and brines. |  |
|  | Exacting elemental analysis |  |
|  | Purpose-built handheld LIBS for measuring lithium in rocks and brines. Factory calibrated for lithium in pegmatite, clays and micas, including relevant base elements in the 350-675 nm range. SciAps also offers the Z-902 Lithium, containing a second spectrometer to extend the analytical range down to 210 nm for users testing brines for other elements, including boron, magnesium, calcium, and potassium. |  |
|  | Intuitive operations |  |
|  | Android operating system and app-based software assure quality testing by every operator. Built-in Wi-Fi and Bluetooth, with GPS capability, allow users to print, email, and connect to virtually any information management system for full-featured reporting. Automatically merge XRF and LIBS tests with SciAps Cloud Services, and easily manage operations from anywhere. |  |
|  | Designed for field and lab |  |
|  | SciAps LIBS series handheld analyzers, at just 3.5 lbs. (1.6 kg) with battery, have an internal camera for precise targeting of analysis locations; a macro camera for photo-documentation of samples, reading bar codes and QR codes; a patented “sample sensor” that allows Class 1 operation (subject to LSO approval); high-resolution, rear-facing display for easy viewing; rugged metal body for maximum durability; a tapered, narrow snout for difficult-to-access test locations; and user-replaceable argon that provides hundreds of tests at pennies per test. Pair with Profile Builder software for PC or tablet and achieve full benchtop functionality. |  |
|  | For more information, or to schedule a demonstration: |  |
|  | SciAps.com Local Phone Number |  |
| (BACK) |  |  |
|  | SciAps Z-901 Lithium |  |
|  | Specifications |  |
|  | A dedicated handheld LIBS for lithium measurements |  |
|  | Weight |  |
|  | 3.87 lbs. with battery |  |
|  | Dimensions |  |
|  | 10.75" x 2.375" x 8.625" |  |
|  | Display |  |
|  | 2.7″ high brightness, color touchscreen, readable in all lighting conditions. Rear facing display for easy results viewing. |  |
|  | Power |  |
|  | On-board rechargeable Li-ion battery, rechargeable inside device or with external charger, AC power. |  |
|  | Processing electronics |  |
|  | ARM Quad Cortex -A53 1.2 GHz Memory: 2 GB LPDDR3, eMMC 16 GB |  |
|  | Data storage |  |
|  | Results Storage: 32 GB SD card |  |
|  | Connectivity |  |
|  | Built on Google’s Android platform for real-time data exporting, including built-in WiFi (IEEE 802.11b/g/n), Bluetooth (BR/EDR+BLE), GPS and USB-C to connect to virtually any information management system. |  |
|  | Sample viewing |  |
|  | Integrated camera and laser target indicator for viewing sample before and during analysis for proper sample alignment. Includes second “macro camera” for scanning QR or bar codes and for photo-documentation and report generation. |  |
|  | Laser raster |  |
|  | On-board Y stage for rastering laser to discrete locations for targeted analysis or averaging. |  |
|  | Atmosphere |  |
|  | SciAps proprietary Opti-Purge provides an inert argon environment improving spectral signal to noise ratio and improving performance in the UV range. |  |
|  | Calibration check |  |
|  | 316 stainless steel standard for automated calibration and wavelength scale validation. |  |
|  | Drift correction |  |
|  | On-board automated drift correction software with factory-provided or user-provided reference materials. |  |
|  | Regulatory |  |
|  | CE, RoHS, USFDA registered. Class 3b laser. Sample sensor on board, allows for operation under Class 1 conditions, subject to local LSO approval. |  |
|  | Spectral range |  |
|  | 350–675 nm |  |
|  | Calibrations |  |
|  | Li in pegmatites, Li in clay, Li in mica-schists. Additional matrix matched calibrations can be built by operator using Profile Builder software for PC and tablet. |  |
|  | Security |  |
|  | Password protected; Multi-user support with configurable access settings |  |
|  | YouTube.com/SciAps |  |
|  | If applicable, please add: LOCAL COMPANY NAME LOCAL WEBSITE LOCAL PHONE |  |